## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
39.3
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 58.6 | 175.8 | 215.1 |  | 99.0534 |  | 0.02 | mL |  |  | SAC-1 | 7.272 | 58.715 | 51.443 | 1
7 |  | 0 | 39.3 |  |  |  | 0.4 | 0.05 | 0.02 |  | SAC-2 | 7.269 | 58.658 | 51.389 | 2
10 |  | -175.8 | -136.5 | [7 empty] | SAC-3 | 7.272 | 59.139 | 51.867 | 3
3.5 |  | 205.1 | 244.4 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | P-0077-1-1 | 7.294 | 60.853 | 53.559 | 4
3 |  | 234.4 | 273.7 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | P-0077-1-2 | 7.292 | 59.534 | 52.242 | 5
3.7 |  | 193.38 | 232.68 | Enter This value to end first titration, round down to next mV | [6 empty] | P-0077-1-3 | 7.293 | 60.327 | 53.034 | 6
2.8 |  | 246.12 | 285.42 | Enter This value to end gran titration, round up to next mV | [6 empty] | P-0077-2-1 | 7.293 | 60.181 | 52.888 | 7
[11 empty] | P-0077-2-2 | 7.267 | 59.671 | 52.404 | 8
[11 empty] | P-0077-2-3 | 7.267 | 59.769 | 52.502 | 9
[11 empty] | P-0077-3-1 | 7.269 | 60.548 | 53.279 | 10
[11 empty] | P-0077-3-2 | 7.289 | 60.303 | 53.014 | 11
[11 empty] | P-0077-3-3 | 7.274 | 58.467 | 51.193 | 12
[11 empty] | BAYSTD1-10122020-1 | 7.272 | 57.921 | 50.649 | 14
[11 empty] | BAYSTD1-10122020-2 | 7.295 | 57.453 | 50.158 | 15
[11 empty] | BAYSTD1-10122020-3 | 7.296 | 59.713 | 52.417 | 16

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SACRIFICE | 52.403 | 37 | 25 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1 | 56.325 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD2 | 56.596 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD3 | 56.198 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
ACID-4-1 | 49.693 | 37.7 | 13.3 | 6.9 | 7 | 203.88 | 232.02
ACID-4-2 | 44.041 | 37.7 | 13.3 | 6.9 | 7 | 203.88 | 232.02
ACID-4-3 | 50.377 | 37.7 | 13.3 | 6.9 | 7 | 203.88 | 232.02
ACID-2-1 | 47.451 | 27.6 | 14.5 | 6.9 | 7 | 203.88 | 232.02
ACID-2-2 | 46.685 | 27.6 | 14.5 | 6.9 | 7 | 203.88 | 232.02
ACID-2-3 | 44.817 | 27.6 | 14.5 | 6.9 | 7 | 203.88 | 232.02
ACID-6-1 | 46.386 | 27.3 | 14.3 | 6.9 | 7 | 203.88 | 232.02
ACID-6-2 | 48.805 | 27.3 | 14.3 | 6.9 | 7 | 203.88 | 232.02
ACID-6-3 | 45.972 | 27.3 | 14.3 | 6.9 | 7 | 203.88 | 232.02
BAYSTD4 | 55.627 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD5 | 51.945 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD6 | 55.029 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
ALKCRM1 | 56.244 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02
ALKCRM2 | 53.245 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02
ALKCRM3 | 55.6193 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02