## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
50.1
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 56.28 | 168.84 | 218.94 |  | 95.1318 |  | 0.02 | mL |  |  | SAC-1 | 7.298 | 58.52 | 51.222 | 1
7 |  | 0 | 50.1 |  |  |  | 0.4 | 0.05 | 0.02 |  | SAC-2 | 7.288 | 58.828 | 51.54 | 2
10 |  | -168.84 | -118.74 | [7 empty] | SAC-3 | 7.281 | 58.892 | 51.611 | 3
3.5 |  | 196.98 | 247.08 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | P-0076-1-1 | 7.293 | 61.566 | 54.273 | 4
3 |  | 225.12 | 275.22 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | P-0076-1-2 | 7.276 | 65.038 | 57.762 | 5
3.7 |  | 185.724 | 235.824 | Enter This value to end first titration, round down to next mV | [6 empty] | P-0076-1-3 | 7.272 | 65.674 | 58.402 | 6
2.8 |  | 236.376 | 286.476 | Enter This value to end gran titration, round up to next mV | [6 empty] | P-0076-2-1 | 7.291 | 58.075 | 50.784 | 7
[11 empty] | P-0076-2-2 | 7.299 | 63.646 | 56.347 | 8
[11 empty] | P-0076-2-3 | 7.29 | 60.938 | 53.648 | 9
[11 empty] | P-0076-3-1 | 7.286 | 60.504 | 53.218 | 10
[11 empty] | P-0076-3-2 | 7.298 | 58.684 | 51.386 | 11
[11 empty] | P-0076-3-3 | 7.276 | 59.41 | 52.134 | 12
[11 empty] | BAYSTD1-10122020-1 | 7.271 | 62.66 | 55.389 | 14
[11 empty] | BAYSTD1-10122020-2 | 7.275 | 62.069 | 54.794 | 15
[11 empty] | BAYSTD1-10122020-3 | 7.298 | 63.776 | 56.478 | 16

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.222 | 31.5 | 25 | 50.1 | 7 | 247.08 | 275.22
SAC-2 | 51.54 | 31.5 | 25 | 50.1 | 7 | 247.08 | 275.22
SAC-3 | 51.611 | 31.5 | 25 | 50.1 | 7 | 247.08 | 275.22
P-0076-1-1 | 54.273 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-1-2 | 57.762 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-1-3 | 58.402 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-2-1 | 50.784 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-2-2 | 56.347 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-2-3 | 53.648 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-3-1 | 53.218 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-3-2 | 51.386 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
P-0076-3-3 | 52.134 | 31.8 | 16.3 | 50.1 | 7 | 247.08 | 275.22
BAYSTD1-10122020-1 | 55.389 | 27.53 | 11.92 | 50.1 | 7 | 247.08 | 275.22
BAYSTD1-10122020-2 | 54.794 | 27.53 | 11.92 | 50.1 | 7 | 247.08 | 275.22
BAYSTD1-10122020-3 | 56.478 | 27.53 | 11.92 | 50.1 | 7 | 247.08 | 275.22