## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
6.9
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 56.28 | 168.84 | 175.74 |  | 95.1318 |  | 0.02 | mL |  |  | SACRIFICE | 7.308 | 65.744 | 58.436 | 1
7 |  | 0 | 6.9 |  |  |  | 0.4 | 0.05 | 0.02 |  | BAYSTD1-02202020-1 | 7.278 | 66.714 | 59.436 | 2
10 |  | -168.84 | -161.94 | [7 empty] | BAYSTD1-02202020-2 | 7.275 | 64.817 | 57.542 | 3
3.5 |  | 196.98 | 203.88 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | BAYSTD1-02202020-3 | 7.289 | 64.629 | 57.34 | 4
3 |  | 225.12 | 232.02 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | AMB-6-1 | 7.29 | 54.99 | 47.7 | 5
3.7 |  | 185.724 | 192.624 | Enter This value to end first titration, round down to next mV | [6 empty] | AMB-6-2 | 7.286 | 53.637 | 46.351 | 6
2.8 |  | 236.376 | 243.276 | Enter This value to end gran titration, round up to next mV | [6 empty] | AMB-6-3 | 7.288 | 60.105 | 52.817 | 7
[11 empty] | AMB-4-1 | 7.276 | 54.399 | 47.123 | 8
[11 empty] | AMB-4-2 | 7.3 | 53.99 | 46.69 | 9
[11 empty] | AMB-4-3 | 7.272 | 57.474 | 50.202 | 10
[11 empty] | AMB-2-1 | 7.268 | 53.32 | 46.052 | 11
[11 empty] | AMB-2-2 | 7.275 | 57.348 | 50.073 | 12
[11 empty] | AMB-2-3 | 7.292 | 53.588 | 46.296 | 13
[11 empty] | BAYSTD1-02202020-4 | 7.302 | 61.875 | 54.573 | 14
[11 empty] | BAYSTD1-02202020-5 | 7.277 | 61.407 | 54.13 | 15
[11 empty] | BAYSTD1-02202020-6 | 7.296 | 58.427 | 51.131 | 16
[11 empty] | CRM186-02202020-1 | 7.268 | 55.406 | 48.138 | 17
[11 empty] | CRM186-02202020-2 | 7.289 | 54.831 | 47.542 | 18
[11 empty] | CRM186-02202020-3 | 7.29 | 54.245 | 46.955 | 19

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SACRIFICE | 58.436 | 37 | 25 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-1 | 59.436 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-2 | 57.542 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-3 | 57.34 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
AMB-6-1 | 47.7 | 26.7 | 14.1 | 6.9 | 7 | 203.88 | 232.02
AMB-6-2 | 46.351 | 26.7 | 14.1 | 6.9 | 7 | 203.88 | 232.02
AMB-6-3 | 52.817 | 26.7 | 14.1 | 6.9 | 7 | 203.88 | 232.02
AMB-4-1 | 47.123 | 26.6 | 14.2 | 6.9 | 7 | 203.88 | 232.02
AMB-4-2 | 46.69 | 26.6 | 14.2 | 6.9 | 7 | 203.88 | 232.02
AMB-4-3 | 50.202 | 26.6 | 14.2 | 6.9 | 7 | 203.88 | 232.02
AMB-2-1 | 46.052 | 26.3 | 14.6 | 6.9 | 7 | 203.88 | 232.02
AMB-2-2 | 50.073 | 26.3 | 14.6 | 6.9 | 7 | 203.88 | 232.02
AMB-2-3 | 46.296 | 26.3 | 14.6 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-4 | 54.573 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-5 | 54.13 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
BAYSTD1-02202020-6 | 51.131 | 27.53 | 11.92 | 6.9 | 7 | 203.88 | 232.02
CRM186-02202020-1 | 48.138 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02
CRM186-02202020-2 | 47.542 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02
CRM186-02202020-3 | 46.955 | 33.525 | 25 | 6.9 | 7 | 203.88 | 232.02